{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["监督检验报告信息","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":13,"n_cols":14,"rows_kept":13,"merged":[[0,0,0,11],[1,0,1,13],[2,0,2,13],[3,0,3,13]],"flags":["formulas_cached_only"]}
["2023年燃气用具连接用不锈钢波纹软管产品质量市监督抽查结果"]
["本次抽查了流通领域5家经销单位8批次产品。所检项目全部符合标准。\n依据CJ/T 197-2010《燃气用具连接用不锈钢波纹软管》等标准，对螺纹，长度，软管耐压性，软管气密性，软管抗拉性，软管耐热性，软管柔软性，软管弯曲性，软管耐冲击性，接头耐安装性，阻燃性等11个项目进行了检验。\n具体抽查结果见附件。\n"]
["附件"]
["2023年燃气用具连接用不锈钢波纹软管产品质量市级监督抽查结果汇总表"]
["序号","抽样领域","产品名称","受检单位名称","统一社会信用代码","标称生产者名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","抽样日期","行政区划","承检单位"]
[1,"流通领域","燃气用具连接用不锈钢波纹软管","市北区煜程盾运建材经营部","913307820605998957","浙江盾运实业有限公司","2020-07-19//","RLB-ZH-C-10×1000mm","DUNYU","所检项目符合标准","/","2023-08-01","市北区","青岛市产品质量检验研究院"]
[2,"流通领域","燃气用具连接用不锈钢波纹软管","市北区煜程盾运建材经营部","913307820605998957","浙江盾运实业有限公司","2022-12-22//","RLB-ZH-CS-10×1500mm","盾运","所检项目符合标准","/","2023-08-01","市北区","青岛市产品质量检验研究院"]
[3,"流通领域","灶具用具连接用304不锈钢波纹软管","城阳区徐宏伟建材经营部","91330681084263915K","诸暨市莱恩管业有限公司","///","RLB-ZH-10×1000mm","/","所检项目符合标准","/","2023-08-02","城阳区","青岛市产品质量检验研究院"]
[4,"流通领域","燃气用具连接用304不锈钢波纹软管","李沧区浩华通装饰材料经营部","91330681322988795F","诸暨市万龙管业有限公司","///","RLB-ZH-CS-10×2000mm","/","所检项目符合标准","/","2023-08-02","李沧区","青岛市产品质量检验研究院"]
[5,"流通领域","燃气用具连接用304不锈钢波纹软管","李沧区浩华通装饰材料经营部","91330681322988795F","诸暨市万龙管业有限公司","2022-08-27//","RLB-ZH-CS-10×1500mm","/","所检项目符合标准","/","2023-08-02","李沧区","青岛市产品质量检验研究院"]
[6,"流通领域","燃气用具连接用304不锈钢波纹软管","李沧区盛天德装饰材料经营部","91330681563343170E","浙江奇爱管业有限公司","2023-07-02//","RLB-ZH-C-10×1000","奇爱","所检项目符合标准","/","2023-08-03","李沧区","青岛市产品质量检验研究院"]
[7,"流通领域","燃气用具连接用304不锈钢波纹软管","李沧区维利达建材商行","91330681679585817T","浙江全能丰禾塑业有限公司","///","RLB-ZH-C-10×4000","全能E家","所检项目符合标准","/","2023-08-03","李沧区","青岛市产品质量检验研究院"]
[8,"流通领域","燃气用具连接用304不锈钢波纹软管","李沧区维利达建材商行","91330681679585817T","浙江全能丰禾塑业有限公司","///","RLB-ZH-C-10×2000","全能E家","所检项目符合标准","/","2023-08-03","李沧区","青岛市产品质量检验研究院"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}