{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["监督检验报告信息 (2)","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息 (2)","index":0,"n_rows":55,"n_cols":14,"rows_kept":55,"merged":[[0,0,0,13],[1,0,1,13],[2,0,2,13],[3,0,3,13]],"flags":["formulas_cached_only"]}
["2025年配装眼镜产品质量市监督抽查结果"]
["    本次抽查生产领域50批次产品。\n    经检验，未发现不合格项目。具体抽查结果见附件。\n"]
["附件"]
["2025年配装眼镜产品质量市级监督抽查结果汇总表"]
["序号","抽样领域","产品名称","受检单位名称","统一社会信用代码","标称生产者名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","抽样日期","行政区划","承检单位"]
["1","生产领域","配装眼镜","青岛现代眼镜有限公司","91370282MA3P8HNNXY","/","2025-03-24/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD:60mm","/","所检项目符合标准","/","2025-03-24","即墨区","青岛市产品质量检验研究院"]
["2","生产领域","配装眼镜","青岛市城阳区大华眼镜店","92370214MA3E808H9P","/","2025-03-19/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-24","城阳区","青岛市产品质量检验研究院"]
["3","生产领域","配装眼镜","城阳区眼视康眼镜店","92370214MA3TQ99A4J","/","2025-03-19/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD=60mm","/","所检项目符合标准","/","2025-03-24","城阳区","青岛市产品质量检验研究院"]
["4","生产领域","配装眼镜","青岛市城阳区忠亮眼镜春阳路店","92370214MA3E1NPQ5G","/","2025-03-21/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DS×40°  PD=62mm","/","所检项目符合标准","/","2025-03-24","城阳区","青岛市产品质量检验研究院"]
["5","生产领域","配装眼镜","青岛现代靓视眼镜有限公司","91370214MA7JC5QH00","/","2025-03-21/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-24","城阳区","青岛市产品质量检验研究院"]
["6","生产领域","配装眼镜","青岛丹阳眼镜批发有限公司崇阳路分部","91370214MA3DG62U6G","/","2025-03-24/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-24","城阳区","青岛市产品质量检验研究院"]
["7","生产领域","配装眼镜","青岛市市南区眼饰界眼镜行","92370202MA3DXMXK89","/","2025-03-23/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-26","市南区","青岛市产品质量检验研究院"]
["8","生产领域","配装眼镜","青岛新境界光学有限公司","91370212MA3F8KG147","/","2025-03-21/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-26","崂山区","青岛市产品质量检验研究院"]
["9","生产领域","配装眼镜","青眼医学科技（青岛）有限公司","91370202264581945G","/","2025-03-25/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-26","市南区","青岛市产品质量检验研究院"]
["10","生产领域","配装眼镜","青岛丹阳眼镜批发有限公司书院路分部","91370213MA3C11JU88","/","2025-03-25/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50° PD:60mm","/","所检项目符合标准","/","2025-03-25","李沧区","青岛市产品质量检验研究院"]
["11","生产领域","配装眼镜","青岛万视精益眼镜有限公司","91370213MAC38BNM12","/","2025-03-25/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-25","李沧区","青岛市产品质量检验研究院"]
["12","生产领域","配装眼镜","青岛今视角眼镜有限公司","91370212MA3WPKF83B","/","2025-03-21/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-26","崂山区","青岛市产品质量检验研究院"]
["13","生产领域","配装眼镜","崂山区美度眼镜店","92370212MA3MBU4695","/","2025-03-24/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD:60mm","/","所检项目符合标准","/","2025-03-26","崂山区","青岛市产品质量检验研究院"]
["14","生产领域","配装眼镜","青岛海奕明商贸有限公司","91370212572075972R","/","2025-03-21/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50° PD:60mm","/","所检项目符合标准","/","2025-03-26","崂山区","青岛市产品质量检验研究院"]
["15","生产领域","配装眼镜","青岛爱视优光学有限公司","91370213MA3F7QDF03","/","2025-03-24/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-25","李沧区","青岛市产品质量检验研究院"]
["16","生产领域","配装眼镜","青岛百通康视眼镜有限公司","91370213MA3CEU9L0M","/","2025-03-25/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50° PD:60mm","/","所检项目符合标准","/","2025-03-25","李沧区","青岛市产品质量检验研究院"]
["17","生产领域","配装眼镜","青岛市崂山区水木年华园眼镜店","92370212MA3E3YHB24","/","2025-03-24/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-26","崂山区","青岛市产品质量检验研究院"]
["18","生产领域","配装眼镜","青岛视觉闪亮眼镜有限公司","91370212MA3CF6TU12","/","2025-03-24/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50° PD:60mm","/","所检项目符合标准","/","2025-03-26","崂山区","青岛市产品质量检验研究院"]
["19","生产领域","配装眼镜","青岛大博光明眼镜有限公司","913702123341629908","/","2025-03-21/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-26","崂山区","青岛市产品质量检验研究院"]
["20","生产领域","配装眼镜","青岛泽明眼镜有限公司","91370213MA3TUFWM7A","/","2025-03-25/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50° PD:60mm","/","所检项目符合标准","/","2025-03-25","李沧区","青岛市产品质量检验研究院"]
["21","生产领域","配装眼镜","李沧区爱视康眼镜店","92370213MA3E16J248","/","2025-03-24/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-25","李沧区","青岛市产品质量检验研究院"]
["22","生产领域","配装眼镜","胶州市李哥庄镇精益林眼镜店","92370281MA3DNT5Y9T","/","2025-03-20/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD=62mm","/","所检项目符合标准","/","2025-03-27","胶州市","青岛市产品质量检验研究院"]
["23","生产领域","配装眼镜","胶州市康视明眼镜店","92370281MA3EBWDEXH","/","2025-03-22/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-27","胶州市","青岛市产品质量检验研究院"]
["24","生产领域","配装眼镜","青岛金鑫光视明眼镜有限公司","91370281MAC1Y2YQXW","/","2025-03-25/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD=62mm","/","所检项目符合标准","/","2025-03-27","胶州市","青岛市产品质量检验研究院"]
["25","生产领域","配装眼镜","胶州市宝光眼镜店","92370281MA3F0UYA6W","/","2025-03-25/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50° PD:60mm","/","所检项目符合标准","/","2025-03-27","胶州市","青岛市产品质量检验研究院"]
["26","生产领域","配装眼镜","青岛民意眼镜有限公司","9137028178374075XK","/","2025-03-23/—","R:-4.50DS/-1.00DC×40°  L：-4.50DS/-1.00DC×50° PD=60mm","/","所检项目符合标准","/","2025-03-27","胶州市","青岛市产品质量检验研究院"]
["27","生产领域","配装眼镜","胶州市百信眼镜批发超市","92370281MA3EERCW3B","/","2025-03-26/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-27","胶州市","青岛市产品质量检验研究院"]
["28","生产领域","配装眼镜","平度市石峰莱州眼镜店","92370283MA3E2HGX4C","/","2025-03-31/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD:60mm","/","所检项目符合标准","/","2025-03-31","平度市","青岛市产品质量检验研究院"]
["29","生产领域","配装眼镜","青岛诚信视康眼镜有限公司杭州路分公司","91370283MA3EJF0XXF","/","2025-03-21/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD:60mm","/","所检项目符合标准","/","2025-03-31","平度市","青岛市产品质量检验研究院"]
["30","生产领域","配装眼镜","平度市爱明眼镜店","91370283MA3QXBHK8N","/","2025-03-23/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD:60mm","/","所检项目符合标准","/","2025-03-31","平度市","青岛市产品质量检验研究院"]
["31","生产领域","配装眼镜","平度市永昌眼镜店","92370283MA3E9KW37K","/","2025-03-23/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-03-31","平度市","青岛市产品质量检验研究院"]
["32","生产领域","配装眼镜","平度市新视点眼镜店","92370283MA3DYDMU0K","/","2025-03-20/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD:60mm","/","所检项目符合标准","/","2025-03-31","平度市","青岛市产品质量检验研究院"]
["33","生产领域","配装眼镜","青岛光彩眼镜有限公司黄岛区分公司","91370211MA3CRW6M6P","/","2025-03-21/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-04-01","西海岸新区","青岛市产品质量检验研究院"]
["34","生产领域","配装眼镜","黄岛区明目眼镜店","92370211MAC2W94805","/","2025-03-21/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-04-01","西海岸新区","青岛市产品质量检验研究院"]
["35","生产领域","配装眼镜","胶南市大光明眼镜店","92370211MA3E0TGB68","/","2025-03-25/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-04-01","西海岸新区","青岛市产品质量检验研究院"]
["36","生产领域","配装眼镜","胶南市茂业眼镜店","92370211MA3E9TAW9N","/","2025-03-27/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-04-01","西海岸新区","青岛市产品质量检验研究院"]
["37","生产领域","配装眼镜","胶南市卫康眼镜配制中心站","92370211MA3E7THU6L","/","2025-04-01/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD:60mm","/","所检项目符合标准","/","2025-04-01","西海岸新区","青岛市产品质量检验研究院"]
["38","生产领域","配装眼镜","孙晓栋","92370211MA3EFL3F6B","/","2025-03-31/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD:60mm","/","所检项目符合标准","/","2025-04-01","西海岸新区","青岛市产品质量检验研究院"]
["39","生产领域","配装眼镜","青岛丹阳眼镜批发有限公司威海路分部","91370203MA3CEW2G0H","/","2025-04-02/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-04-02","市北区","青岛市产品质量检验研究院"]
["40","生产领域","配装眼镜","青岛快之镜眼镜有限公司","91370203MA3DENNJ5U","/","2025-03-23/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-04-02","市北区","青岛市产品质量检验研究院"]
["41","生产领域","配装眼镜","青岛爱呗眼镜店","91370211MA3QC7RB2F","/","2025-03-20/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD:60mm","/","所检项目符合标准","/","2025-04-02","西海岸新区","青岛市产品质量检验研究院"]
["42","生产领域","配装眼镜","黄岛区圣罗兰眼镜行","92370211MA3EDEEQ68","/","2025-03-24/—","R:-4.50DS/-1.00DC40°  L:-4.50DS/-1.00DC50°  PD:60mm","/","所检项目符合标准","/","2025-04-02","西海岸新区","青岛市产品质量检验研究院"]
["43","生产领域","配装眼镜","青岛经济技术开发区刘芳眼镜城香江路店","92370211MA3E4H4P35","/","2025-03-20/—","R:-4.00DS/-1.00DC30°  L:-4.00DS/-1.00DC40°  PD:62mm","/","所检项目符合标准","/","2025-04-02","西海岸新区","青岛市产品质量检验研究院"]
["44","生产领域","配装眼镜","青岛经济技术开发区鸿晨眼镜店","92370211MA3E3WJC8G","/","2025-03-24/—","R:-4.50DS/-1.00DC40°  L:-4.50DS/-1.00DC50°  PD=60mm","/","所检项目符合标准","/","2025-04-02","西海岸新区","青岛市产品质量检验研究院"]
["45","生产领域","配装眼镜","济宁金博商贸有限公司青岛市北分公司","91370203MA3NG5055D","/","2025-04-02/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD:60mm","/","所检项目符合标准","/","2025-04-02","市北区","青岛市产品质量检验研究院"]
["46","生产领域","配装眼镜","黄岛区齐鲁亨得利眼镜行香江路店","92370211MA3F2A9L3Y","/","2025-03-21/—","R:-4.00DS/-1.00DC30°  L:-4.00DS/-1.00DC40°  PD:62mm","/","所检项目符合标准","/","2025-04-02","西海岸新区","青岛市产品质量检验研究院"]
["47","生产领域","配装眼镜","黄岛区新视觉眼镜店","92370211MA3E951P9N","/","2025-04-03/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD:60mm","/","所检项目符合标准","/","2025-04-03","西海岸新区","青岛市产品质量检验研究院"]
["48","生产领域","配装眼镜","黄岛区刘芳眼镜城丁家河店","92370211MA3E858J9H","/","2025-03-22/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD:60mm","/","所检项目符合标准","/","2025-04-03","西海岸新区","青岛市产品质量检验研究院"]
["49","生产领域","配装眼镜","黄岛区易视界视光光学眼镜中心","92370211MABMBCWA5U","/","2025-03-24/—","R:-4.50DS/-1.00DC×40°  L:-4.50DS/-1.00DC×50°  PD:60mm","/","所检项目符合标准","/","2025-04-03","西海岸新区","青岛市产品质量检验研究院"]
["50","生产领域","配装眼镜","黄岛区新时代眼镜店","92370211MA3MHG084H","/","2025-03-29/—","R:-4.00DS/-1.00DC×30°  L:-4.00DS/-1.00DC×40°  PD:62mm","/","所检项目符合标准","/","2025-04-11","西海岸新区","青岛市产品质量检验研究院"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}